## Chiller Market Sizing
Chiller Market Sizing: CBS Construction-Starts Data (2021-2025)
Source: Israel Central Bureau of Statistics (הלשכה המרכזית לסטטיסטיקה), "התחלות וגמר בנייה - סיכום שנת 2025" (Construction Begun and Completed in 2025), Publication 089/2026, released 19/03/2026. Table 7: Construction area, by purpose and construction stage (CONSTRUCTION BEGUN section).
Media release (PDF): | cbs.gov.il/.../04_26_089b.pdf |  |  |  | Table 7 source (XLS): | cbs.gov.il/.../04_26_089t7.xls |  |  |  | Methodology doc: | brainstorms/2026-07-22_tax-incentive-market-analysis.md
SECTION 1 - Raw CBS Data: Construction Begun, by Purpose (Thousand m²)
All 15 value columns below are entered exactly as published by CBS (blue = hardcoded source input). "Non-res total (computed)" is a live SUM check of the 9 category columns against CBS's own reported total; CBS notes its totals may not sum exactly due to rounding (footnote 2 on the source table).
Year | Agriculture (חקלאות) | Other public buildings | Health (בריאות) | Education (חינוך) | Industry & storage | Transport & communications | Commercial (מסחר) | Offices (משרדים) | Hotels (הארחה) | Non-res total (CBS reported) | Non-res total (computed =SUM) | Diff (CBS - computed) | Residential (CBS reported) | Grand total (CBS reported)
2021 | 309 | 253 | 134 | 708 | 991 | 203 | 467 | 1163 | 154 | 4383 |  |  | 12120 | 16503
2022 | 161 | 296 | 57 | 640 | 1349 | 229 | 540 | 1248 | 175 | 4697 |  |  | 12901 | 17598
2023 | 241 | 414 | 45 | 627 | 1391 | 388 | 500 | 1353 | 216 | 5175 |  |  | 12206 | 17381
2024 | 206 | 264 | 40 | 440 | 966 | 151 | 486 | 816 | 178 | 3549 |  |  | 12971 | 16520
2025 | 283 | 350 | 226 | 648 | 1089 | 154 | 823 | 577 | 194 | 4347 |  |  | 14972 | 19319
CBS footnote (source table, note 2): "הנתונים אינם מסתכמים בהכרח לסך הכל בגלל עיגול מספרים": figures may not sum exactly due to CBS's own rounding. All units: thousand m².
SECTION 2: Chiller-Relevant Construction Starts (Derived)
Methodology (brainstorms/2026-07-22_tax-incentive-market-analysis.md): chiller-relevant floor area = non-residential total MINUS Agriculture MINUS Transport & communications. These two categories are excluded because they don't carry comfort-cooling loads the way office/commercial/institutional/industrial floor area does. All cells below are live formulas referencing Section 1: change a raw CBS input above and this section recalculates.
Year | Non-res total, CBS reported (Section 1, col K) | Agriculture (Section 1, col B) | Transport & comms (Section 1, col G) | Chiller-relevant (thousand m²) | Chiller-relevant (m²)
5-yr average
SECTION 3: Cooling-Load Density (RT/m²) by CBS Category, Sourced
No single source publishes one blended commercial-building RT/m² figure, and cooling-load density varies genuinely by building type: so each of the 7 chiller-relevant CBS categories gets its own sourced sq ft/ton figure below, converted to m²/RT via the exact sq-ft-to-m² factor in cell B30. Green rows are directly sourced to a named reference matching that CBS category; orange rows are a general-commercial proxy because no source specific to that category was found: flagged, not hidden. SI 5282 (Israeli standard) was checked and ruled out: it is a building energy-rating standard (envelope, glazing, orientation), not an equipment-capacity sizing standard, so it has no RT/m² figure to cite.
Conversion factor: 1 sq ft = | 0.092903 | m² (exact)
Category | Section 1 column | sq ft / ton (sourced input) | m² / RT (=sqft/ton x conv.) | Source |  |  |  |  | Basis
Other public buildings | Section 1, col C | 400 |  | Trane (via HVAC industry search compilation): "general commercial" catch-all figure. trane.com/residential/en/resources/glossary/hvac-sizing |  |  |  |  | Proxy: no source specific to civic/municipal buildings found
Health (בריאות) | Section 1, col D | 275 |  | HVAC-ENG.com, Cooling Load Rules of Thumb: patient rooms & medical offices, 250-300 sq ft/ton range, midpoint used. hvac-eng.com/cooling-load-rules-of-thumb |  |  |  |  | Sourced: matches category directly
Education (חינוך) | Section 1, col E | 213 |  | cfm Distributors (Brad Telker, VP Sales), Load Calculation Rules of Thumb: classrooms, stated design assumptions (98/78 db/wb summer design, 2018 IMC ventilation). rc.cfmdistributors.com/helpful-tips/training/load-calculation-rules-of-thumb |  |  |  |  | Sourced: matches category directly
Industry & storage | Section 1, col F | 400 |  | Trane (via HVAC industry search compilation): "general commercial" catch-all figure, same as Other public buildings. trane.com/residential/en/resources/glossary/hvac-sizing |  |  |  |  | Proxy: CBS bundles active industrial process floor with pure storage; no disaggregated source found, and HVAC-ENG's industrial figures (50-300 sq ft/ton) are computer-room/precision-manufacturing specific, not general storage
Commercial (מסחר) | Section 1, col H | 321 |  | cfm Distributors (Brad Telker, VP Sales), Load Calculation Rules of Thumb: retail sales floor. rc.cfmdistributors.com/helpful-tips/training/load-calculation-rules-of-thumb |  |  |  |  | Sourced: matches category directly
Offices (משרדים) | Section 1, col I | 373 |  | cfm Distributors (Brad Telker, VP Sales), Load Calculation Rules of Thumb: office space. rc.cfmdistributors.com/helpful-tips/training/load-calculation-rules-of-thumb |  |  |  |  | Sourced: matches category directly
Hotels (הארחה) | Section 1, col J | 362.5 |  | HVAC-ENG.com, Cooling Load Rules of Thumb: unweighted average of public spaces (250-300, mid 275) and guest rooms (400-500, mid 450); no hotel floor-area split between the two is sourced. hvac-eng.com/cooling-load-rules-of-thumb |  |  |  |  | Sourced but blended: no public/guest-room area split available
SECTION 4: Installed Chiller Capacity by Category and Year (Weighted)
Per-category RT = (Section 1 m², thousand) x 1000 / (Section 3 m²/RT for that category). Summed across the 7 chiller-relevant categories = total new chiller capacity (RT) added that year. "Blended m²/RT (check)" divides total chiller-relevant m² by total RT: a reference figure showing what single blended ratio this year's actual construction mix implies, for comparison against a flat assumption.
Year | Other public (RT) | Health (RT) | Education (RT) | Industry & storage (RT) | Commercial (RT) | Offices (RT) | Hotels (RT) | Total (RT) | Blended m²/RT (check)
5-yr average
SECTION 5: Notes & Open Questions
Result | 5-year average weighted installed chiller capacity from new non-residential construction ≈ 128,600 RT/year (cell I49). The blended m²/RT this implies each year (column J, Section 4) stays fairly stable at ~30-31.5 m²/RT despite year-to-year swings in category mix, because Education (dense, ~19.8 m²/RT) and the two proxy categories (less dense, ~37.2 m²/RT) partly offset each other.
Open question for Daniel: proxy categories | "Other public buildings" and "Industry & storage" (Section 3, orange rows) both use a general-commercial proxy figure (Trane, 400 sq ft/ton) because no source specific to either category was found. This is the weakest link in the weighted calc: industrial/storage floor space in particular could plausibly be much lower cooling-load than a flat commercial proxy assumes (empty warehouse space often isn't fully air-conditioned at all). Flagging rather than guessing a differentiated number with no basis.
Open question for Daniel: CBS bundling | CBS bundles "Industry & storage" as a single category (Section 1, column F) with no further breakdown at this release level: pure storage/warehousing likely doesn't carry the same load as active industrial floor space, but there's no CBS-level way to split it. Would need a different data source (e.g. PRTR facility-level data, already flagged as a lead for the HP/VSD sizing engines) to separate them.
Not yet built | Replacement-demand sensitivity (existing stock RT / equipment lifetime, per the model's own 15-17yr lifetime rows) is still the next step: this workbook covers new-construction demand only, the conservative base case per the market-sizing methodology doc.